## Method Verification
Laboratory Name | Food Matrix to be tested | Analyte to be tested for | Method Certification | Method Name | Laboratory Method Code | Test Type | Laboratory Test Code | Is a Subsample Taken? | Sample Tested (grams) | Sample-to-Media Ratio (Sample) | Sample-to-Media Ratio (Media) | Incubation Time (Target, hours) | Incubation Time (Minimum, hours) | Incubation Time (Maximum, hours) | Are Detection Samples Wet-Pooled Post-Enrichment?

## Validation Rules
Column Name | Required? | Description | Validation Rules | Example | Comments
Laboratory Name | Yes | Name of the laboratory that performs the analysis. | One option should be selected from the dropdown list. | FSNS/Certified lab
Food Matrix to be tested | Yes | Type of food product being analysed. | One distinct product per row. | Romaine Lettuce | List each product separately. Do not group different items (for example, list spinach and kale separately, not as a “greens mix”).
Analyte to be tested for | Yes | The specific organism or compound that the method is designed to detect, identify, or quantify. | One or more options should be selected from the dropdown list. | STEC
Method Certification | Yes | Accreditation body or certification under which the method is validated (e.g., AOAC, AFNOR). | Free text. | AOAC
Method Name | Yes | Full method name as written by the certifying body or manufacturer. | Free text. | AOAC PTM 022204
Laboratory Method Code | No | Internal code used by the laboratory to identify the method. | Optional; free text or numeric. | L1234 | Use the exact code as reported by the laboratory.
Test Type | Yes | Nature of the test conducted. | One option should be selected from the dropdown list. | Initial Screening
Laboratory Test Code | Conditional | Laboratory’s internal code for the specific test performed. | If the selected option for Laboratory Name is “Eurofins”, this field must be completed. For all other laboratories, it is optional. The value may be free text or numeric. | T5678
Is a Subsample Taken? | Yes | Indicates whether only a portion of the submitted sample is analysed. | One option should be selected from the dropdown list. | Yes | Select Yes or No from the dropdown. This determines whether the sample weight fields below should be filled.
Sample Tested (grams) | Conditional | The weight of the sample actually analysed by the laboratory in grams. | This field should only be completed if a subsample is taken. Leave blank if “No” is selected for Is a subsample taken?. Only numerical entries greater than zero are valid when Is a subsample taken? = “Yes”. | 375 | Enter the actual weight of the subsample tested. Leave blank if “No” is selected above.
Sample-to-Media Ratio (Sample) | Yes | The weight part of the ratio. | Only numerical values greater than zero are valid. | 1 | Record only the numerical part of the ratio that represents the sample (for example, 1 if the ratio is 1:10).
Sample-to-Media Ratio (Media) | Yes | The enrichment media volume part of the ratio. | Only numerical values greater than zero are valid. Must be exactly 2 hours greater than the value entered in 'Incubation time (min hours)' column. | 10 | Record only the numerical part of the ratio that represents the media (for example, 10 if the ratio is 1:10).
Incubation Time (Target, hours) | Yes | The standard or intended number of hours the sample is incubated according to the method. | Must be entered as a whole number or decimal representing hours. If the method specifies a fixed incubation time, the same value must be used in all three incubation fields (target, min, and max). | 11
Incubation Time (Minimum, hours) | Yes | This column records the minimum incubation time, in hours. | Only whole numbers greater than zero are allowed. The value must not be greater than the value entered in Incubation time (max hours). If the method specifies a range, the lower value should be entered here (for example, if the range is 10–12 hours, enter 10). If the method specifies a fixed incubation time, the same value should be entered in both the minimum and maximum columns (for example, 12 and 12). | 10 | Use this column for the lower value of the incubation time if a range is given, or for the fixed time if no range is specified. If the method specifies a fixed incubation, enter the same value here and in the maximum column.
Incubation Time (Maximum, hours) | Yes | This column records the maximum incubation time, in hours | Only whole numbers greater than zero are allowed. The value must be equal to or greater than the value in Incubation time (min hours). If the method specifies a range, the maximum value must be exactly two hours greater than the minimum value (for example, if the range is 10–12 hours, enter 12). If the method specifies a fixed incubation time, then the maximum and minimum values must be the same (for example, 12 and 12). | 12 | Use this column for the upper value of the incubation time if a range is given, or for the fixed time if no range is specified. If the method specifies a fixed incubation, enter the same value here and in the minimum column.
Are Detection Samples Wet-Pooled Post-Enrichment? | Yes | Whether samples are combined after enrichment for testing. | One option should be selected from the dropdown list. | No

## Instructions
Instructions for Completing the Method Verification Template
Goal
This form documents the conditions and methodologies used for product pathogen testing. Capturing this information supports consistent interpretation of test results and enables additional data analysis across testing plans.
Who should complete this form
Grower/Handler
Provide this form to the laboratory that conducts your product pathogen testing.
Laboratory
Complete this form once for each distinct testing methodology used by the laboratory. Within each form, enter one row for each product type tested under that methodology. Do not complete a separate form for every individual sample; instead, use the form to describe the method, and record all relevant product types that apply.
Before completing the template
The laboratory must carefully read and follow the guidance in the “Validation Rules” tab. This tab provides field descriptions, validation rules for each field, and one example entry per field.
The “Dropdown Lists” tab must not be modified under any circumstance.
If you encounter a situation where an appropriate option is not available in one or more fields, immediately notify Joelle Mosso (jmosso@wga.com) and Gustavo Reyes (greyes@wga.com) for clarification or approval before submitting the form.
How to complete
Do not change or alter the form template structure. Only fill in the fields with the information requested.
Enter all required values exactly as specified in the “Validation Rules” tab.
Enter numerical values exactly as specified (for example, sample weights in grams, incubation times in hours).
For incubation times: if a range is used, enter the lower value in Incubation time (min hours) and the upper value in Incubation time (max hours); if the incubation is fixed, enter the same value in both fields.
For fields with dropdown menus, select one of the provided options. Do not type free text or modify the dropdown lists.
Submission
Submit the completed form as an Excel file (do not convert to PDF, CSV or any other format). Send it to Western Growers:
Joelle Mosso – jmosso@wga.com
Gustavo Reyes – greyes@wga.com

## Dropdown Lists
Analyte to be tested for | Test type | Food matrix to be tested
EHEC | Cultural Confirmation | Anise/All
STEC | Initial Screening | Anise/Unspecified
Salmonella | Molecular Confirmation | Apples/All
E.coli O157 |  | Apples/Gala
EHEC/STEC and E.coli O157 |  | Apples/Pink Lady
Apples/Unspecified
Lab Name | Are detection samples wet-pooled post-enrichment? | Arugula/All
IEH | Yes | Arugula/Anastazia
Primus | No | Arugula/Bellezia
Eurofins |  | Arugula/Diplotaxis
FSNS/Certified lab |  | Arugula/Eruca
Arugula/Evergreen
| Is a subsample taken? | Arugula/Sinope
| Yes | Arugula/Themisto
| No | Arugula/Unspecified
Arugula/Wasabi
Arugula/Wild
Basil/All
Basil/Unspecified
Beet/All
Beet/Green
Beet/Red
Beet/Unspecified
Blend/All
Blend/Unspecified
Bok Choy/All
Bok Choy/Unspecified
Broccolette/All
Broccolette/Unspecified
Broccoli/All
Broccoli/Sweet Baby
Broccoli/Unspecified
Brussel Sprouts/All
Brussel Sprouts/Unspecified
Cabbage/All
Cabbage/Green
Cabbage/Napa
Cabbage/Red
Cabbage/Savoy
Cabbage/Unspecified
Carrots/All
Carrots/Matchstick
Carrots/Mini
Carrots/Unspecified
Cauliflower/All
Cauliflower/Unspecified
Celery/All
Celery/Unspecified
Chard/All
Chard/Gold
Chard/Green
Chard/Green, Red
Chard/Orange
Chard/Pink
Chard/Rainbow
Chard/Red
Chard/Unspecified
Chard/Yellow
Cilantro/All
Cilantro/Transitional
Cilantro/Unspecified
Collard Greens/All
Collard Greens/Unspecified
Combo/All
Combo/Arugula, Multi-leaf
Combo/Arugula, Rocket
Combo/Baby Kale
Combo/Baby Kale, Chard
Combo/Baby Kale, Chard, Mizuna
Combo/Baby Kale, Mizuna
Combo/Baby Leaf
Combo/Baby Leaf, Butter Red
Combo/Broad-leaf Endive, Escarole
Combo/Chard
Combo/Chard, Kale
Combo/Chard, Mizuna
Combo/Chards, Kale
Combo/Green
Combo/Green Chard, Mizuna, Red Chard
Combo/Leaf, Oak, Tango
Combo/Multi-leaf
Combo/Red
Combo/Unspecified
Daikon/All
Daikon/Unspecified
Dandelion Greens/All
Dandelion Greens/Unspecified
Dill/All
Dill/Unspecified
Endive/All
Endive/Unspecified
Escarole/All
Escarole/Unspecified
Green Beans/All
Green Beans/Unspecified
Kale/All
Kale/Black
Kale/Blue
Kale/Green
Kale/Green Amara
Kale/Green, White Russian
Kale/Lacinato
Kale/Premier
Kale/Purple
Kale/Red
Kale/Red Nagoya
Kale/Red Peacock
Kale/Scarlet
Kale/Texsel Greens
Kale/Unspecified
Kale/White Peacock
Kohlrabi/All
Kohlrabi/Unspecified
Leek/All
Leek/Unspecified
Lettuce/All
Lettuce/Butter
Lettuce/Butter Salanova
Lettuce/Cosmo Romaine
Lettuce/Easy Leaf
Lettuce/Frisee
Lettuce/Gem Romaine
Lettuce/Glace
Lettuce/Green
Lettuce/Green Bibb
Lettuce/Green Butter
Lettuce/Green Frisee
Lettuce/Green Gem Romaine
Lettuce/Green Glace
Lettuce/Green Leaf
Lettuce/Green Oak
Lettuce/Green Romaine
Lettuce/Green Tango
Lettuce/Grenadier
Lettuce/Iceberg
Lettuce/Leaf
Lettuce/Lolla Rosa
Lettuce/Lolla Rossa
Lettuce/Malawi
Lettuce/Mercury
Lettuce/Mini Romaine
Lettuce/Multi-gem Romaine
Lettuce/Multi-leaf
Lettuce/Multi-leaf Salanova
Lettuce/Multi-leaf Tango
Lettuce/Oak
Lettuce/Red
Lettuce/Red Bibb
Lettuce/Red Butter
Lettuce/Red Gem Romaine
Lettuce/Red Leaf
Lettuce/Red Multi-leaf
Lettuce/Red Oak
Lettuce/Red Romaine
Lettuce/Red Salanova
Lettuce/Redwood
Lettuce/Romaine
Lettuce/Salanova
Lettuce/Salanova Blend
Lettuce/Tango
Lettuce/Tango Salanova
Lettuce/Unspecified
Mache/All
Mache/Unspecified
Mizuna/All
Mizuna/Red
Mizuna/Unspecified
Mustard/All
Mustard/Green
Mustard/Red
Mustard/Unspecified
Pak Choi/All
Pak Choi/Green
Pak Choi/Red
Pak Choi/Unspecified
Parsley/All
Parsley/Curly
Parsley/Italian
Parsley/Unspecified
Peas/All
Peas/Snap
Peas/Snow
Peas/Unspecified
Radicchio/All
Radicchio/Unspecified
Spinach/All
Spinach/Avenger
Spinach/Colusa
Spinach/Crosstrek
Spinach/Dozer
Spinach/Freezer
Spinach/Kiowa
Spinach/Leaf
Spinach/Nembus
Spinach/Pelican
Spinach/Pinal
Spinach/Regor
Spinach/Trailboss
Spinach/Unspecified
Spring Mix/All
Spring Mix/Romaine Gem
Spring Mix/Unspecified
Tatsoi/All
Tatsoi/Green
Tatsoi/Unspecified
Turnip/All
Turnip/Unspecified